List for the JGS-320 loads

Nelson Gardens

“C” = Contactor

“S” = Starter

NOTE: Two sets of Contacts for all Starters and Contactors

Hand-Off-Auto Switches with Status Indicators

ENGINE

To power the M1 Panel – 3 phase 480 volts 16 amps

One Jacket Water Heater - 3 phase 480 volts 8.6 KW ………..……	     49.11    C

One Jacket Water Heater Pump - 3 phase 480 volts 370 W ………	     49.9      S

One Battery Charger - 3 phase 480 volts 6 amps …..…………………   49.13     C

One Generator Condensation Heater - 1 phase 240 volts 300 watts … 49.15     C

“All of the Engine load connections go into the E1 Cabinet. The E1 Cabinet is located right next to the M1 Panel. Not shown in drawings.”

COOLING

One Radiator Fan - 3 phase 480 volts 20 HP ………….……………………. 	       S

One LT Pump - 3 phase 480 volts 5 HP………………………..……………..         S

DOES NOT INCLUDE ANY

BALANCE OF PLANT OPERATIONS REQUIREMENTS